## Worksheet
web_scraper_start_url | product_name | brand | sku | gtin | currency | price | original_price | discount_price | rating | review_count | description | description_html | shipping_info | weight | weight_unit | color | size | size_unit | material | style | availability | main_image | images
https://www.sustainablesupply.com/collections/plumbing-supplies-toilets-urinals/products/zurn-flushometer-toilet-128gpf-10x12sa-z5645186000000-c1936833 | Zurn Single Flush, Sensor, Two Piece, Flush Valve Toilet, Elongated - Z5645.186.00.00.00 | Zurn | C1936833 | 670240801585 | usd | 1109.09 | 1788.9 | 1109.09 |  |  | Flush Valve Toilet; Toilet Product Type: Flush Valve Toilet; Toilet Mounting Style: Floor with Back Outlet; Toilet Bowl Shape: Elongated; Brand and Series: Zurn One(R); Number of Pieces: Two Piece; Gallons per Flush: 1.28; Flushing Method: Flush Valve; Flush Mode: Single Flush; Flush Valve Type Included: Automatic; Flush Valve Location: Exposed; Flush Handle: Sensor; Rough-In: 4 in; Spud Location: Top; Toilet Material: Vitreous China; Color Family: Whites; Insulated Tank: No; Includes Toilet Tank: No; Includes Flush Valve Cover: Yes; ADA Compliance: Yes; Manufacturers Warranty Length: 3 yr; Weight Capacity: 400 lb; Water Surface Area: 10 in x 12 in; Rim Height: 16 5/8 in; Trapway Dia.: 2 1/8 in; Collection: Zurn One; Color: White; Basic Power Source: Battery; Features: Uses as Little as 1.1 Gpf; Includes: Bolt Caps, Flush Valve; Includes Seat: No; Bowl Mfr. Model Number: Z5645-BWL; Tank/Flush Valve Mfr. Model Number: ZER6200-WS1.0005; Standards: ASME A112.192/CSA B45.1; Green Environmental Attribute: Toilet Uses 1.28 gpf or Less View more | <div class="card"><div class="card__section"> <div class="rte text--pull"> <p>Flush Valve Toilet; Toilet Product Type: Flush Valve Toilet; Toilet Mounting Style: Floor with Back Outlet; Toilet Bowl Shape: Elongated; Brand and Series: Zurn One(R); Number of Pieces: Two Piece; Gallons per Flush: 1.28; Flushing Method: Flush Valve; Flush Mode: Single Flush; Flush Valve Type Included: Automatic; Flush Valve Location: Exposed; Flush Handle: Sensor; Rough-In: 4 in; Spud Location: Top; Toilet Material: Vitreous China; Color Family: Whites; Insulated Tank: No; Includes Toilet Tank: No; Includes Flush Valve Cover: Yes; ADA Compliance: Yes; Manufacturers Warranty Length: 3 yr; Weight Capacity: 400 lb; Water Surface Area: 10 in x 12 in; Rim Height: 16 5/8 in; Trapway Dia.: 2 1/8 in; Collection: Zurn One; Color: White; Basic Power Source: Battery; Features: Uses as Little as 1.1 Gpf; Includes: Bolt Caps, Flush Valve; Includes Seat: No; Bowl Mfr. Model Number: Z5645-BWL; Tank/Flush Valve Mfr. Model Number: ZER6200-WS1.0005; Standards: ASME A112.192/CSA B45.1; Green Environmental Attribute: Toilet Uses 1.28 gpf or Less</p> </div> <button class="expandable-content__toggle"> <span class="expandable-content__toggle-icon"></span> <span class="expandable-content__toggle-text" data-view-more="View more" data-view-less="View less">View more</span> </button> </div></div> | Usually Ships in 10 Business Days | 67.9 | lb | Whites |  |  | Vitreous China | Floor with Back Outlet | 1 | https://www.sustainablesupply.com/cdn/shop/products/45A146_AS01_800x.jpg?v=1601771185 | https://www.sustainablesupply.com/cdn/shop/products/45A146_AS01_800x.jpg?v=1601771185
https://www.sustainablesupply.com/collections/plumbing-supplies-toilets-urinals/products/zurn-toilet-gasket-neoprene-black-z1210-57-c1936657 | Zurn Gasket, Fits Brand Zurn, For Use with Series Zurn, Toilets, Most Toilets - Z1200-NEOSEAL-GSKT-4 | Zurn | C1936657 | 670240063075 | usd | 76.99 | 145 | 76.99 |  |  | Wax rings, seals, and gaskets help form water-tight connections to prevent leaks between and around toilet components. They're made of plastic or rubber and used as replacements for rings, seals, and gaskets that have deteriorated and started to leak. Wax rings seal the drainpipe connection between base of the toilet and the wall or floor. Signs that wax rings are failing include water seepage at the base of the toilet and unpleasant odors from sewer gas. Gaskets and seals seal the connection between the toilet tank and the bowl. They may need replacing when water leaks from the bottom of the tank.,Standard toilet repair parts are universal fittings, hardware, and accessories for fixing, mounting, or enhancing the utility of toilets. They're used on standardized components common to all types of toilets such as toilet seats, waste lines, and water-supply connections. These parts can replace broken components, seal leaks between connection points, secure fixtures to a floor or wall, and facilitate repairs. View more | <div class="card"><div class="card__section"> <div class="rte text--pull"> <p>Wax rings, seals, and gaskets help form water-tight connections to prevent leaks between and around toilet components. They're made of plastic or rubber and used as replacements for rings, seals, and gaskets that have deteriorated and started to leak. Wax rings seal the drainpipe connection between base of the toilet and the wall or floor. Signs that wax rings are failing include water seepage at the base of the toilet and unpleasant odors from sewer gas. Gaskets and seals seal the connection between the toilet tank and the bowl. They may need replacing when water leaks from the bottom of the tank.,Standard toilet repair parts are universal fittings, hardware, and accessories for fixing, mounting, or enhancing the utility of toilets. They're used on standardized components common to all types of toilets such as toilet seats, waste lines, and water-supply connections. These parts can replace broken components, seal leaks between connection points, secure fixtures to a floor or wall, and facilitate repairs.</p> </div> <button class="expandable-content__toggle"> <span class="expandable-content__toggle-icon"></span> <span class="expandable-content__toggle-text" data-view-more="View more" data-view-less="View less">View more</span> </button> </div></div> | Usually Ships in 3-5 Business Days | 1 | lb |  | 4 | in | Neoprene |  | 1 | https://www.sustainablesupply.com/cdn/shop/products/41H972_AS01_1100x.jpg?v=1601766902 | https://www.sustainablesupply.com/cdn/shop/products/41H972_AS01_1100x.jpg?v=1601766902
https://www.sustainablesupply.com/collections/plumbing-supplies-toilets-urinals/products/zurn-flushometer-toilet-128gpf-10x12sa-z5615258000000-c1936811 | Zurn Single Flush, Oscillating Handle, Two Piece, Flush Valve Toilet, Elongated - Z5615.258.00.00.00 | Zurn | C1936811 | 670240447462 | usd | 307.6 | 496.1 | 307.6 |  |  | Flush Valve Toilet; Toilet Product Type: Flush Valve Toilet; Toilet Mounting Style: Wall; Toilet Bowl Shape: Elongated; Brand and Series: Zurn One(R); Number of Pieces: Two Piece; Gallons per Flush: 1.28; Flushing Method: Flush Valve; Flush Mode: Single Flush; Flush Valve Type Included: Manual; Flush Valve Location: Exposed; Flush Handle: Oscillating Handle; Rough-In: 5 1/4 in or 7 1/4 in to 9 1/4 in for ADA; Spud Location: Top; Toilet Material: Vitreous China; Color Family: Whites; Insulated Tank: No; Includes Toilet Tank: No; Includes Flush Valve Cover: Yes; ADA Compliance: Yes; Manufacturers Warranty Length: 3 yr; Weight Capacity: 400 lb; Water Surface Area: 10 in x 12 in; Rim Height: 15 in; Trapway Dia.: 2 1/8 in; Collection: Zurn One; Color: White; Basic Power Source: Battery; Features: 20% Savings over Conventional 1.6 gpf Toilets; Includes: Flush Valve; Includes Seat: No; Bowl Mfr. Model Number: Z5615-BWL; Tank/Flush Valve Mfr. Model Number: Z6000AV-HET; Standards: ASME A112.192/CSA B45.1; Green Environmental Attribute: Toilet Uses 1.28 gpf or Less View more | <div class="card"><div class="card__section"> <div class="rte text--pull"> <p>Flush Valve Toilet; Toilet Product Type: Flush Valve Toilet; Toilet Mounting Style: Wall; Toilet Bowl Shape: Elongated; Brand and Series: Zurn One(R); Number of Pieces: Two Piece; Gallons per Flush: 1.28; Flushing Method: Flush Valve; Flush Mode: Single Flush; Flush Valve Type Included: Manual; Flush Valve Location: Exposed; Flush Handle: Oscillating Handle; Rough-In: 5 1/4 in or 7 1/4 in to 9 1/4 in for ADA; Spud Location: Top; Toilet Material: Vitreous China; Color Family: Whites; Insulated Tank: No; Includes Toilet Tank: No; Includes Flush Valve Cover: Yes; ADA Compliance: Yes; Manufacturers Warranty Length: 3 yr; Weight Capacity: 400 lb; Water Surface Area: 10 in x 12 in; Rim Height: 15 in; Trapway Dia.: 2 1/8 in; Collection: Zurn One; Color: White; Basic Power Source: Battery; Features: 20% Savings over Conventional 1.6 gpf Toilets; Includes: Flush Valve; Includes Seat: No; Bowl Mfr. Model Number: Z5615-BWL; Tank/Flush Valve Mfr. Model Number: Z6000AV-HET; Standards: ASME A112.192/CSA B45.1; Green Environmental Attribute: Toilet Uses 1.28 gpf or Less</p> </div> <button class="expandable-content__toggle"> <span class="expandable-content__toggle-icon"></span> <span class="expandable-content__toggle-text" data-view-more="View more" data-view-less="View less">View more</span> </button> </div></div> | Usually Ships in 10 Business Days | 51.8 | lb | Whites |  |  | Vitreous China | Wall | 1 | https://www.sustainablesupply.com/cdn/shop/products/45A124_AS01_1100x.jpg?v=1601771183 | https://www.sustainablesupply.com/cdn/shop/products/45A124_AS01_1100x.jpg?v=1601771183
https://www.sustainablesupply.com/collections/plumbing-supplies-toilets-urinals/products/zurn-flushometer-toilet-128gpf-10x12sa-z5615270000000-c1936812 | Zurn Single Flush, Sensor, Two Piece, Flush Valve Toilet, Elongated - Z5615.270.00.00.00 | Zurn | C1936812 | 670240447479 | usd | 560.51 | 904 | 560.51 |  |  | Flush Valve Toilet; Toilet Product Type: Flush Valve Toilet; Toilet Mounting Style: Wall; Toilet Bowl Shape: Elongated; Brand and Series: Zurn One(R); Number of Pieces: Two Piece; Gallons per Flush: 1.28; Flushing Method: Flush Valve; Flush Mode: Single Flush; Flush Valve Type Included: Automatic; Flush Valve Location: Exposed; Flush Handle: Sensor; Rough-In: 5 1/4 in or 7 1/4 in to 9 1/4 in for ADA; Spud Location: Top; Toilet Material: Vitreous China; Color Family: Whites; Insulated Tank: No; Includes Toilet Tank: No; Includes Flush Valve Cover: Yes; ADA Compliance: Yes; Manufacturers Warranty Length: 3 yr; Weight Capacity: 400 lb; Water Surface Area: 10 in x 12 in; Rim Height: 15 in; Trapway Dia.: 2 1/8 in; Collection: Zurn One; Color: White; Basic Power Source: Battery; Includes: Flush Valve; Includes Seat: No; Bowl Mfr. Model Number: Z5615-BWL; Tank/Flush Valve Mfr. Model Number: ZER6000AV-HET-CPM; Standards: ASME A112.192/CSA B45.1; Green Environmental Attribute: Toilet Uses 1.28 gpf or Less View more | <div class="card"><div class="card__section"> <div class="rte text--pull"> <p>Flush Valve Toilet; Toilet Product Type: Flush Valve Toilet; Toilet Mounting Style: Wall; Toilet Bowl Shape: Elongated; Brand and Series: Zurn One(R); Number of Pieces: Two Piece; Gallons per Flush: 1.28; Flushing Method: Flush Valve; Flush Mode: Single Flush; Flush Valve Type Included: Automatic; Flush Valve Location: Exposed; Flush Handle: Sensor; Rough-In: 5 1/4 in or 7 1/4 in to 9 1/4 in for ADA; Spud Location: Top; Toilet Material: Vitreous China; Color Family: Whites; Insulated Tank: No; Includes Toilet Tank: No; Includes Flush Valve Cover: Yes; ADA Compliance: Yes; Manufacturers Warranty Length: 3 yr; Weight Capacity: 400 lb; Water Surface Area: 10 in x 12 in; Rim Height: 15 in; Trapway Dia.: 2 1/8 in; Collection: Zurn One; Color: White; Basic Power Source: Battery; Includes: Flush Valve; Includes Seat: No; Bowl Mfr. Model Number: Z5615-BWL; Tank/Flush Valve Mfr. Model Number: ZER6000AV-HET-CPM; Standards: ASME A112.192/CSA B45.1; Green Environmental Attribute: Toilet Uses 1.28 gpf or Less</p> </div> <button class="expandable-content__toggle"> <span class="expandable-content__toggle-icon"></span> <span class="expandable-content__toggle-text" data-view-more="View more" data-view-less="View less">View more</span> </button> </div></div> | Usually Ships in 10 Business Days | 54 | lb | Whites |  |  | Vitreous China | Wall | 1 | https://www.sustainablesupply.com/cdn/shop/products/45A125_AS01_1100x.jpg?v=1601771184 | https://www.sustainablesupply.com/cdn/shop/products/45A125_AS01_1100x.jpg?v=1601771184
https://www.sustainablesupply.com/collections/plumbing-supplies-toilets-urinals/products/zurn-bedpan-flushometer-toilet-128gpf-9x8sa-z5666243000000-c1936826 | Zurn Single Flush, Sensor, Two Piece, Bedpan Flush Valve Toilet, Elongated - Z5666.243.00.00.00 | Zurn | C1936826 | 670240696037 | usd | 629.24 | 1014.9 | 629.24 |  |  | Bedpan Flush Valve Toilet; Toilet Product Type: Bedpan Flush Valve Toilet; Toilet Mounting Style: Floor; Toilet Bowl Shape: Elongated; Brand and Series: Zurn One; Number of Pieces: Two Piece; Gallons per Flush: 1.28; Flushing Method: Flush Valve; Flush Mode: Single Flush; Flush Valve Type Included: Automatic; Flush Valve Location: Exposed; Flush Handle: Sensor; Rough-In: 10 in; Spud Location: Top; Toilet Material: Vitreous China; Color Family: Whites; Insulated Tank: No; Includes Toilet Tank: No; Includes Flush Valve Cover: Yes; ADA Compliance: No; Manufacturers Warranty Length: 3 yr; Weight Capacity: 300 lb; Water Surface Area: 9 in x 8 in; Rim Height: 16 3/4 in; Trapway Dia.: 2 1/8 in; Collection: Zurn One; Color: White; Basic Power Source: Electric; Features: 20% Savings over Conventional 1.6 gpf Toilets; Includes: Bed Pan Lugs, Bolt Caps, Flush Valve; Includes Seat: No; Bowl Mfr. Model Number: Z5666-BWL; Tank/Flush Valve Mfr. Model Number: ZER6200-HET.0001; Standards: ASME A112.192/CSA B45.1; Green Environmental Attribute: Toilet Uses 1.28 gpf or Less View more | <div class="card"><div class="card__section"> <div class="rte text--pull"> <p>Bedpan Flush Valve Toilet; Toilet Product Type: Bedpan Flush Valve Toilet; Toilet Mounting Style: Floor; Toilet Bowl Shape: Elongated; Brand and Series: Zurn One; Number of Pieces: Two Piece; Gallons per Flush: 1.28; Flushing Method: Flush Valve; Flush Mode: Single Flush; Flush Valve Type Included: Automatic; Flush Valve Location: Exposed; Flush Handle: Sensor; Rough-In: 10 in; Spud Location: Top; Toilet Material: Vitreous China; Color Family: Whites; Insulated Tank: No; Includes Toilet Tank: No; Includes Flush Valve Cover: Yes; ADA Compliance: No; Manufacturers Warranty Length: 3 yr; Weight Capacity: 300 lb; Water Surface Area: 9 in x 8 in; Rim Height: 16 3/4 in; Trapway Dia.: 2 1/8 in; Collection: Zurn One; Color: White; Basic Power Source: Electric; Features: 20% Savings over Conventional 1.6 gpf Toilets; Includes: Bed Pan Lugs, Bolt Caps, Flush Valve; Includes Seat: No; Bowl Mfr. Model Number: Z5666-BWL; Tank/Flush Valve Mfr. Model Number: ZER6200-HET.0001; Standards: ASME A112.192/CSA B45.1; Green Environmental Attribute: Toilet Uses 1.28 gpf or Less</p> </div> <button class="expandable-content__toggle"> <span class="expandable-content__toggle-icon"></span> <span class="expandable-content__toggle-text" data-view-more="View more" data-view-less="View less">View more</span> </button> </div></div> | Usually Ships in 10 Business Days | 61 | lb | Whites |  |  | Vitreous China | Floor | 1 | https://www.sustainablesupply.com/cdn/shop/products/45A139_AS01_900x.jpg?v=1601771186 | https://www.sustainablesupply.com/cdn/shop/products/45A139_AS01_900x.jpg?v=1601771186